**Installer**

**for**

**Ignition-based Applications**

**Document Version:**

**Apr 15, 2016**

Table of Contents

Table of Contents

1. Introduction 2

2. Loading 3

3. Creating the Installer Module 4

4. Panels 5

4.1 Welcome Panel 5

4.2 License Panel 7

4.3 Backup Panel 8

4.4 Interface Definition Panel 9

4.5 Project Panel 10

4.6 Icon Panel 11

4.7 Tag Panel 11

4.8 ScanClass Panel 11

4.9 Database Panel 12

4.10 External Panel 13

4.11 Module Panel 14

4.12 Toolkit Panel 15

4.13 Documentation Panel 15

4.14 Source Panel 16

4.15 Summary Panel 17

4.16 Epilog 18

# Introduction

Ignition™ is an execution and development platform from Inductive Automation designed to support a wide-range of industrial control applications. While a basic Ignition-based application may require only a project file, a more comprehensive application may require a number of different components for correct execution. These components may involve a variety of file types and installation steps. The variety may be confusing to the end user. Absence of one or more of these components may yield an incomplete or inconsistent installation and result in subtle (or not so subtle) errors.

This document describes an ILS-Automation product that handles application releases in the familiar paradigm of an installer. Using the ILS Application Installer, the end user is presented with a wizard-style sequence of screens that handle installation of the various components that make up the target application. These components may be, among other things: full or partial projects, global projects, UDT definitions, icons, internal and/or external python packages, SQL update scripts, or Java-based modules.

With the ILS-Automation installer, the release bundle for a particular delivery is packaged into a single file, an Ignition module file. Embedded within the module are all the resources required for the target application. When the install module is loaded, an additional menu entry appears on the configuration panel in the Ignition Gateway. This entry launches a wizard-style sequence of panels that allow the end-user to to complete the installation.

The screens with which the user interacts are completely configured via an XML file. This file describes the information on the screens as well as the locations of the actual resources within the bundle. This file is known as the bill-of-materials. The bulk of this document describes this file with sample output.

# Loading

The install bundle is loaded just like any other Ignition module - from the Gateway configuration page. It appears as “ApplicationInstaller” in the module list. This is the default name. It may be easily changed to something more appropriate to the product being installed by editing the application-installer-module.xml file in the module bundle as it is being created.



Figure – Gateway Modules View

Once the bundle is loaded, a new entry appears on the configuration panel. It names the product and provides a link to execute the installer.



Figure – Entry on Configuration Panel

The name that appears comes from the *<title>* element of the bill of materials.

# Creating the Installer Module

An Ignition module is simply a jar file. It can be created in a number of ways:

* manually – use the *jar* command that is part of any standard java distribution. E.g.

jar –cf <jar-file-name> <directory-to-be-jarred>

* shell script – create a *bash* script to collect artifacts and create the module.
* *ant* script – incorporate building an installer into your normal build process. An *ant* script may be executed directly from *Eclipse*, for example.

The standard components that make up the installer itself are required. These are:

* ai-gateway.jar – core installer code
* Iis-common.jar – common library for ILS applications
* module.xml – module descriptor. This file may be edited to change the module name and description as shown in the Ignition Designer.
* .application-installer – this is a zero-length file that is simply used to mark the fact that this is an installer module.

The files above are distributed by ILS Automation and constitute the core installer. These files must be stored in the root directory of the artifact bundle.

In addition to what is normal in a module file is an “artifacts” directory. This contains a bom.xml. (bill-of-materials) file, plus all of the resources that comprise the product.

In order that the module can be loaded into the Ignition Gateway without the end user having any special permissions, it must be signed. This is accomplished through the [Inductive Automation](http://www.inductiveautomation.com) website. You must be registered as an Ignition developer in order to do this.

# Panels

This section describes each panel type in detail showing both the XML fragments used for configuration and the resulting screen displayed to the user. Not every panel is applicable for every product. In some cases multiple versions of the same panel may be needed. This is all controlled by the makeup of the XML file, the product bill-of-materials.

Panel *type* is limited to a fixed vocabulary. Each type corresponds to a specific Java class that renders the page. Within a bill-of-materials, a page is given an arbitrary *subtype* that, in combination with the *type,* uniquely identifies each page.

## Welcome Panel

The initial panel displays a description of the product being installed and provides an opportunity to view release notes.

In the XML bill-of-materials document, an initial section of contains a list of properties that describe the product being installed. On startup, these are displayed on the Welcome panel along with corresponding values from the previous installation, if any. These properties are updated in the internal Gateway database once the installation is complete.

The properties shown in the XML fragment below should be included in every update. These are:

* product – the name of the product
* release – marketing name of this update
* date – release date
* version – an integer release number that increments with each update

These properties are defined in the bill-of-materials as shown below:

<?xml version=*"1.0"* encoding=*"UTF-8"*?>

<installer>

<title>ACE Controls Installer</title>

<description>Installer for Ignition Application.</description>

<property name=*"product"*>ACE Controls</property>

<property name=*"release"*>1.2b5</property>

<property name=*"date"*>July 4, 2016</property>

<property name=*"version"*>2</property>

An arbitrary number of additional properties may be added to this list.

The welcome panel is defined in this XML fragment as:

<!-- The welcome panel must always be displayed, thus no version -->

<panel type=*"welcome"* essential=*"true"*>

<title>ILS Automation Installer for ACE Controls Applications</title>

<preamble>Welcome to the ILS Automation installer for the ACE Controls

Ignition Application. The table below compares the existing

installation of this product, if any, with the versions

contained in this new installation. Before continuing,

please make sure that you have defined tag providers and database

connections for both production and isolation

(test) environments. Also make sure that you have write

permission to the "lib" folder within the Ignition

installation directory.

</preamble>

<artifact name=*"notes"* type=*"pdf"*>

<location>artifacts/doc/ReleaseNotes.pdf</location>

</artifact>

</panel>

The *<artifact>* element defines where the resource is located within the installation module. The resulting screen is shown below:



Figure – Welcome Panel

The panel has a button for displaying release notes, and checkboxes that provide filters for subsequent panels to be displayed. The first option provides the ability to skip artifacts that have not been updated in the current distribution. The second choice allows skipping installation of artifacts that are not necessary for production. These may include: example projects, documentation, test scripts or source code.

## License Panel

The license panel provides a means to view and accept the End User License Agreement associated with the product to be installed. If the current version of the agreement has not been accepted previously, then the *next* button is disabled preventing further navigation until the acceptance is granted.

The license panel is defined as:

<panel type=*"license"* essential=*"true"* version=*"1"*>

<title>End User License Agreement (EULA)</title>

<preamble>Click on the button below to view the license that specifies

permissible use of the software to be installed. Select the checkbox

to indicate acceptance of the terms.

You must accept the license terms to proceed.

</preamble>

<artifact name=*"license"* type=*"html"*>

<location>artifacts/license/license.html</location>

</artifact>

</panel>

As before, the *<artifact>* element defines where the resource (in this case the license file) is located within the installation module.

 Figure – License Panel

The panel has a button for displaying the license agreement.

## Backup Panel

The backup panel is an optional panel that allows the user to make an Ignition backup before proceeding further. It should be noted that an Ignition backup does NOT include modules, nor does it backup database instances. Thus it does NOT provide a straightforward way of reversing the install.

Note that the backup panel is configured as non-essential and has no version. It does NOT indicate completion.

<panel type=*"backup"* essential=*"false"*>

<title>Archive into an Ignition Backup</title>

<preamble>This is an optional step. Once created, a backup allows you

to revert the previous state of the application.

</preamble>

</panel>

 Figure – Backup Panel

Once the user selects the button to “Perform Backup”, the browser will (depending on how it is configured) display a dialog that allows selection of the destination for the resulting *.gwbk* file.

## Interface Definition Panel

The purpose of this panel is to define the tag provider(s) and database connection(s) that will be used in subsequent project, database, transaction-group or scan-class panels. If any of these are present, then this panel is required.

The presence or absence of property elements determines the makeup of the resulting panel. “isolation” notation refers to tag providers and database instances that are used in a test, not production, environment.

<panel type=*"definition"* essential=*"true"*>

<title>Interface Definitions</title>

<preamble>Specify tag provider and database connections as used by

the Ignition Applications. This product requires that

both production and test mode versions are specified.

The selections hare are used by subsequent screens.

</preamble>

<!-- Allowed names are: database, provider -->

<!-- Allowed types are: production, isolation -->

<property name=*"database"* type=*"production"*></property>

<property name=*"database"* type=*"isolation"*></property>

<property name=*"provider"* type=*"production"*></property>

<property name=*"provider"* type=*"isolation"*></property>

</panel>



Figure – Interface Definition Panel

It is important to note that the tag providers and database instances must be pre-defined before reaching this page. The pull-down selectors are populated with existing interfaces.

## Project Panel

Blah.

The artifact subtype attributes control the creation and update behavior for the selected project. Valid subtypes are:

* full – the internal artifact is installed as a new project, completely replacing any existing project with the same name.
* global – the internal artifact is a partial project which will be merged with the current global project. The internal project’s resources will overwrite any resources that exist both projects
* partial – the internal artifact is a partial project which will be merged with the selected existing project. The internal project’s resources will overwrite any resources that exist both projects.

Figure – Project Panel (Full Only)

Figure – Project Panel (Update or Full)

Figure – Project Panel (Global)

If the backup checkbox is selected, then any existing project that is the target of a merge or replacement will be renamed with a unique suffix and disabled.

## Icon Panel

If the application makes use of custom icons, then this panel may be used for its installation.

<panel type=*"icon"* essential=*"true"* version=*"1"*>

<title>Custom Icons for Ignition Applications</title>

<preamble>Custom icons are used extensively when drawing blocks

in the Block Language Toolkit.

They may also be found in many of the user screens.

</preamble>

<artifact name=*"Block Language Toolkit Icons"* type=*"blt"* subtype=*"icon"*>

<location>artifacts/icons/blt</location>

</artifact>

<artifact name=*"Application Icons"* type=*"app"* subtype=*"icon"*>

<location>artifacts/icons/custom</location>

</artifact>

</panel>



Figure – Icon Panel

## Tag Panel

If the application requires its own tags, then this panel may be used to define them.

The tag artifacts are .xml files generated by exports in from the Ignition Designer. There may be multiple tag artifacts.

<panel type=*"tag"* subtype=*"production"* essential=*"true"* version=*"1"*>

<title>Install Tags and UDT Definitions</title>

<preamble>This page defines UDTs and tags that are needed

by the applications

when running in &lt;b&gt;PRODUCTION&lt;/b&gt; mode.

</preamble>

<property name=*"provider"* type=*"production"*></property>

<artifact name=*"UDT Definitions"* type=*"tag"* subtype=*"xml"*>

<location>artifacts/tags/UDTs.xml</location>

</artifact>

<artifact name=*"Tags Representing Connections"* type=*"tag"*

subtype=*"xml"*>

<location>artifacts/tags/connections.xml</location>

</artifact>

<artifact name=*"Production Tags"* type=*"tag"* subtype=*"xml"*>

<location>artifacts/tags/sqlTags.xml</location>

</artifact>

<artifact name=*"Vistalon Site Tags"* type=*"tag"* subtype=*"xml"*>

<location>artifacts/tags/siteTags.xml</location>

</artifact>

</panel>

Note the use of HTML escape sequences to create bold fonts.



Figure – Tag Panel

A common additional panel provides separate tags that are appropriate to the test environment. This scenario is not shown.

## ScanClass Panel

If the application makes use of a custom scan-class, then this panel may be used for its installation.

A scan-class is associated with a tag provider. The provider is specified in the <property> element of the bill-of-materials. If the *type* attribute is specified, then the provider that is selected on the interface definition panel used. If the attribute is missing, then the name found in the element value is used. This last option is discouraged as it amounts to “hard-coding” the provider name.

<panel type=*"scanclass"* essential=*"True"* version=*"1"*>

<title>Create alternative Scan Classes</title>

<preamble>Create scanclasses referenced by

&lt;b&gt;PRODUCTION&lt;/b&gt; tags.

Scanclasses determine tag poll rates.

</preamble>

<property name=*"provider"* type=*"production"*></property>

<artifact name=*"Production ScanClasses"* type=*"scanclass"* subtype=*"csv"*>

<location>artifacts/scanclasses/scanclasses.csv</location>

</artifact>

</panel>

The referenced artifact is a *.csv* file obtained from a scan-class export in the Ignition Designer.



Figure –ScanClass Panel

## Database Panel

There are two important scenarios when dealing with databases. In the first, there is no existing instance. The database is configured from scratch. Any existing tables are dropped and re-created. They are populated with initial configuration data.

In the second scenario,

Figure –Database Panel

It is perfectly reasonable to expect a second database instance that is used for testing purposes. The XML is very similar to that found above.

Figure –Database (Test Instance) Panel

## External Panel

“external” refers to python and supporting Java .jar files, that are stored outside of an Ignition project. This code is universal to all projects and resides inside the Ignition installation directory.

Artifact locations point to roots of directory trees. An individual artifact may contain hundreds of files.

<!-- Python types are copied into the Ignition user-lib/pylib area.

Jar types are copied into lib -->

<panel type=*"external"* essential=*"true"* version=*"1"*>

<title>Python Code for the ACE Application</title>

<preamble>This page loads Python code that supports the ACE Application.

The Python is divided into two categories: code developed by

ILS Automation that is generic and used in multiple products,

and code modified specifically for this application.

A third category consists of Java jar files that are

referenced by the Python.

</preamble>

<artifact name=*"External Python - ILS"* type=*"python"* subtype=*"py"*>

<location>artifacts/external/ils-python</location>

</artifact>

<artifact name=*"External Python - ACE"* type=*"python"* subtype=*"py"*>

<location>artifacts/external/ace-python</location>

</artifact>

<artifact name=*"Jar Files to Support External Python"* type=*"java"*

subtype=*"jar"*>

<location>artifacts/external/jars</location>

</artifact>

</panel>

Figure –External Python Panel

## Module Panel

If the installed product requires custom Ignition modules, use this panel to install them.

The artifacts are signed Ignition modules. Multiple odules may be specified.

<panel type=*"module"* subtype=*"production"* essential=*"true"* version=*"1"* >

<title>Install Custom Modules</title>

<preamble>This step installs modules necessary for the ACE control

application.

</preamble>

<artifact name=*"SFC Enhancements"* type=*"module"*>

<location>artifacts/modules/ILS-SFC-module-unsigned.modl</location>

</artifact>

<artifact name=*"Application Toolkit"* type=*"module"*>

<location>artifacts/modules/BLT-module-unsigned.modl</location>

</artifact>

</panel>



Figure –Module Panel

## Toolkit Panel

This panel is custom to ILS Automation. It installs values in the Gateway internal database into the *ILS\_TOOLKIT\_PROPERTIES* table. These values are used in various ways by ILS Automation products. This is, incidentally, the table used to store selected tag provider and database connection values.

<panel type=*"toolkit"* essential=*"true"* version=*"1"*>

<title>Update Toolkit Properties</title>

<preamble>Set properties in the internal database of the Gateway.

These particular parameters define extension functions that update

the database in response to operator operations on diagrams.

</preamble>

<property name=*"com.ils.application(property-get-script)"*>

ils.extensions.appProperties.getAux</property>

. . .

</panel>



Figure –Toolkit Panel

## Documentation Panel

Documentation is a non-essential panel. The screen allows the user to select individual documents to download. The display compares the current version with that of the last-downloaded version of the document. This makes it clear which of the available documents have changes in this release.

Note that each document artifact includes a release attribute. Each artifact is downloaded separately.

<panel type=*"documentation"* essential=*"false"*>

<title>Product Documentation</title>

<preamble>The list below contains both user-level and design documents.

They may be downloaded individually.

</preamble>

<artifact name=*"Installation Manual"* type=*"documentation"*

subtype=*"docx"* release=*"0.12"*>

<location>artifacts/doc/InstallationManual.docx</location>

</artifact>

<artifact name=*"Application Testing Framework"* type=*"documentation"*

subtype=*"docx"* release=*"1.0"*>

<location>artifacts/doc/ApplicationTestFramework.docx</location>

</artifact>

. . .

</panel>

Figure –Documentation Panel

## Source Panel

Like the previous, this is an optional panel. It is used for products in which source code is part of the distribution. As with documentation, the user is allowed to select which, if any, of the source bundles is to be downloaded. The browser determines the download location.

<panel type=*"source"* essential=*"false"* version=*"1"*>

<title>Source Distribution</title>

<preamble>The Java source for the Application Toolkit and extensions

to Sequential function charts are bundled into a single zip file.

The source distribution comes complete with Eclipse project files

and ant scripts for building. Python source is available directly

from its installation in the /user-lib/pylib sub-directory of the

Ignition installation.

</preamble>

<artifact name=*"Toolkit Source Code"* type=*"source"* subtype=*"zip"*

release=*"0.1r15"*>

<location>artifacts/source/blt-0.1r15.zip</location>

</artifact>

<artifact name=*"SFC Extensions Source Code"* type=*"source"* subtype=*"zip"*

release=*"0.1r15"*>

<location>artifacts/source/sfc-0.1r15.zip</location>

</artifact>

</panel>



Figure –Source Code Panel

We’ve called this a panel for source code, but it could be used to convey any file destined for download.

## Summary Panel

The summary panel marks the end of the installation. It lists a summary of the installation state of all required artifacts.

<!-- The summary panel must always be displayed, thus no version -->

<panel type=*"summary"* essential=*"true"*>

<title>Installation Summary</title>

<preamble>The list below shows which of the installation steps

have been completed.

Selecting "Finish" will record the current version of the

ACE Ignition Applications in the Gateway internal database.

</preamble>

</panel>

Figure –Summary Panel

## Epilog

Once the user presses “Finish”, a final panel is shown. It has no navigation links. While it is being shown, the installation module is deleted and the installation link is removed from the Gateway’s configuration panel.

<!-- The completion page is displayed on finish.

Use it to display post-install instructions. -->

<epilog>

<title>Installation Complete</title>

<preamble>

The automated installation and configuration

of the ACE Control Ignition Application is complete.

There are just a few more manual steps required.

</preamble>

<note name=*"Project Permissions"*>

Make sure that appropriate permissions are associated with each

newly-installed project.</note>

<note name=*"Gateway Restart"*>

Several modules with active components have been installed.

A Gateway restart is required.</note>

</epilog>




Figure –Epilog