## AED Artifacts

### Projects:

Multiple copies same project, need unique names, differ only by database connection and tag provider.

Simulation project – same as above.

### Global Project:

No

### Templates:

Yes. Part of copying projects wholesale.

### Tags/UDTs:

No. Necessary tags and UDTs are created on project startup.

### ScanClass Definitions:

Yes

### External python:

Yes

### Internal python:

No

### Legacy python:

No

### Transaction Groups:

No.

### Custom icons:

Yes

### Database:

Customer maintains, installs, configures.

Alter scripts on new version?

### License file:

Yes. Embedded in module, “about” screen?

### Modules:

Yes

### Property files:

Yes